## Slide 1: Analysis and control of linear systems
Sergey Lovlin , Galina Demidova, Aleksandr Mamatov
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 2: Content
Automatic control systems
Quality criteria of control systems
Accuracy indicators of control systems
Typical Regulators
Ziegler-Nichols method

## Slide 3: Automatic control systems
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 4: Introduction
  Automatic control systems:
  give new properties to technological equipment;
  allow you to increase the speed of operating modes ;
  saving consumables and electricity;
  improving the quality of products due to the precision measuring subsystem;
  reducing the number of service personnel and reducing the requirements for their qualifications ;
  reducing the influence of subjective factors , in particular, the psychological characteristics of the operator;
  payroll savings .
  The success of automation is due to high achievements in the development of the theory and practice of building electric drives with brushless electric motors.

## Slide 5: Basic concepts
  y is the output value (sensor readings);
  f is the influence of the environment on the behavior of the object, the disturbance;
  u is the control value (implemented, for example, by engines);
  x - state vector, a set of parameters characterizing the internal state of the object
  The dimension of the vector x is the order of the object

## Slide 6: Basic concepts
  The task of control system is to develop such a control action u to provide a given change controlled variable y, despite the interfering disturbance f and the object's own properties .
  Types of control:
  open loop control

## Slide 7: Basic concepts
  Types of control:
  disturbance control
  The task of control system is to develop such a control action u to provide a given change controlled variable y, despite the interfering disturbance f and the object's own properties .

## Slide 8: Basic concepts
  Types of control:
  feedback control
  The task of control system is to develop such a control action u to provide a given change controlled variable y, despite the interfering disturbance f and the object's own properties .

## Slide 9: Control principles
  The following dependencies are programmed in the controller:
  For each value f the equation is solved in the controller
  Where is the required value of the increment of the control action, compensating for the influence of the disturbing action:

## Slide 10: Regulatory principles
  In a feedback system, the readings of the sensor that measures the output value y are entered into the controller.
  From the upper control level, the master action g is introduced into the controller .
  The controller calculates the deviation of the output value y from the reference value g :
  Deviation ε is called control error.
  In the controller, such a control action u is calculated in order to reduce the error value to zero. It doesn't matter why the error occurred. This is the universalism of the feedback principle.

## Slide 11: Classification of control systems
  Distinguish following types according to the type of the reference signal g :
  stabilization system
  automatic programming system
  g(t) is a given function of time
  tracking system
  g(t) is a random, unknown beforehand function

## Slide 12: Classification of control systems
  By type of mathematical models:
  linear system (behavior is described by a linear model)
  nonlinear system
  Let, an output signal y1 (t) corresponds to an external signal u1(t), when it is applied to the input of the system, and an output signal y2 (t) corresponds to an external signal u2(t), when it is applied to the input of the system.
  Now let's submit:
  If:
  then the system is linear.

## Slide 13: Classification of control systems
  By signal type:
  Continuous or analog. At any point in the system, the signals are continuous functions:
  Discrete. At least in one place of the system, the signals are lattice functions:

## Slide 14: Criteria for the quality of control systems
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 15: Quality of control systems
  The control system must be stable and also must have a certain quality of the transition process .
  Errors in steady state conditions should not exceed admissible values.
  Numerical characteristics are needed to evaluate the effectiveness of control systems.
  Quality criteria make it possible to quantify various automatic control systems.

## Slide 16: Classification of quality indicators
  Direct indicators. Determined directly from the transient response of the process.
  Root indicators. They are determined by the roots of the characteristic polynomial.
  Frequency indicators. Determined by frequency characteristics.
  Integral indicators. Obtained by integrating functions.

## Slide 17: Direct indicators of quality
  Regulation error.
  absolute error:
  relative error:
  maximum absolute error:
  maximum relative error:

## Slide 18: Direct indicators of quality
  Regulation error. Typical mode – constant reference signal.

## Slide 19: Direct indicators of quality
  Regulation error. Typical mode - movement at a constant speed.

## Slide 20: Direct indicators of quality
  Regulation error. Typical mode - movement with acceleration.

## Slide 21: Direct indicators of quality
  Regulation error. Typical mode - movement along a sinusoid.

## Slide 22: Direct indicators of quality
  Transient time
  where:
  for which is true:
  t 0 is the time of the beginning of the transient process;
  Usually:

## Slide 23: Direct indicators of quality
  overshoot
  where:

## Slide 24: Direct indicators of quality
  Oscillation
  For a satisfactory transition process :
  In well damped systems :
  Some systems allow :

## Slide 25: Root characteristics
  Let the transfer function of the analog system be :
  The denominator of the transfer function determines the stability of the system.
  - zeros of the system;
  - poles of the system.
  For stable systems:
  Poles of a stable system.

## Slide 26: Frequency characteristics
  Consider the following transfer function :
  This is the transfer function of an open-loop control system.
  The frequency response of this transfer function makes it possible to evaluate the stability of the control system.

## Slide 27: Frequency characteristics
  Amplitude and phase frequency characteristics of the transfer function of an open-loop control system
  ( φ marg + 180) - phase margin of the control system;
  (0 – L marg ) – amplitude margin of the control system.

## Slide 28: Integral characteristics of quality
  Root-mean-square error :
  It characterizes the spread of the error relative to the mean value.
  For the blue graph:
  For the yellow graph:

## Slide 29: Accuracy indicators of control systems
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 30: Steady-state error study
  Limit value theorem :
  This formulas are valid only if the stability condition is satisfied for F(s) , and the number of roots located on the imaginary number axis should not be more than one.

## Slide 31: Steady-state error study
  Then:

## Slide 32: Steady-state error study

## Slide 33: Steady-state error study

## Slide 34: Steady-state error study
  Coefficients cg0, cg1, cg2, cg3, ... are called reference error coefficients.

## Slide 35: Steady-state error study
  Let be:
  Let's use:
  Substitute:
  in:
  and get:

## Slide 36: Task 7
  What is the steady-state error of the control system when applying the task shown in the figure. Transfer function of an open-loop system:

## Slide 37: Task 8
  What is the steady-state error of the control system when applying the task shown in the figure. Transfer function of an open-loop system:

## Slide 38: Steady-state error study
  Consider:
  Then:
  If the transfer functions W 1 ( s ) and W 2 ( s ) do not contain integrating links, then:

## Slide 39: Steady-state error study
  Consider:
  Then:
  If the transfer functions W 1 ( s ) and W 2 ( s ) contain integrating links, then:

## Slide 40: Typical Regulators
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 41: P-regulator
  Formula for calculating the analog regulator:
  Transfer function of the controller:
  Reaction to a permanent error.

## Slide 42: I controller
  Formula for calculating the analog regulator:
  Transfer function of the controller:
  Responce to a constant error.

## Slide 43: D-regulator
  Formula for calculating the analog regulator:
  Transfer function of the controller:
  Transfer function of a real D-controller:
  Response to a linearly increasing error.

## Slide 44: PID controller and its special cases
  Formula for calculating the analog PID controller:
  PID controller transfer function :

## Slide 45: PID controller and its special cases
  Transfer function of a real PID controller:

## Slide 46: PID controller and its special cases
  Formula for calculating the analog PI controller:
  Transfer function of the PI controller:

## Slide 47: PID controller and its special cases
  Formula for calculating an analog PD controller:
  Transfer function of the PD controller:

## Slide 48: PID controller and its special cases
  Transfer function of a real PD controller:

## Slide 49: Ziegler-Nichols method
Faculty of Control Systems and Industrial Robotics , ITMO University , Saint Petersburg

## Slide 50: Typical Regulators
  In most cases, a properly tuned PID controller satisfies all system requirements.
  According to statistics: more than 90% of industrial controllers are PID controllers.

## Slide 51: Ziegler-Nichols method
  The most famous are two options for setting the controller parameters using the Ziegler - Nichols method .
  proposed in 1943
  refers to empirical methods
  based on the use of data obtained experimentally on a real object.

## Slide 52: Ziegler-Nichols method
  The first option is based on the use of stability margins. In this version, the tuning procedure begins with an experimental study of a system consisting of a P-controller and a given control object. Algorithm :
  1. Increase the transfer coefficient of the P-regulator until oscillations with a constant amplitude of oscillations are established at the output of the system, that is, the system is on the border of stability.
  2. Fix the value of the transfer coefficient of the controller kp* .
  3. Measure the period T* of oscillations established in the system.
4. Calculate the values of the parameters of the controller of the selected type

## Slide 53: Ziegler-Nichols method
 | Kp | Ki | Kd
P-regulator | 0.5∙kp* |  | 
PI controller | 0.45∙kp* | 0.54∙kp* / T * | 
PID controller | 0.6∙kp* | 1.2∙kp* / T * | 0.075kp* ∙ T *

## Slide 54: Ziegler-Nichols method
  Disadvantage:
  It is necessary to bring the system to the stability boundary, which is not recommended for many control objects.

## Slide 55: Ziegler-Nichols method
  Second option. Based on transient response analysis:

## Slide 56: Ziegler-Nichols method
  The equivalent transfer function of the object has the form:

## Slide 57: Ziegler-Nichols
  The values of the controller parameters are calculated directly from the values of the parameters k, T and 𝜏.
 | Kp | Ki | Kd
P-regulator | T/k∙𝜏 |  | 
PI controller | 0.9T/k∙𝜏 | 0.3T/k∙𝜏2 | 
PID controller | 1.2T/k∙𝜏 | 0.6T/k∙𝜏2 | 0.6T/k
  The method gives satisfactory results if 0.15 < 𝜏 / T < 0.6 .